2024 ANNUAL DRINKING WATER QUALITY REPORT

PWSID #:  6240012   RIDGWAY BOROUGH WATER SYSTEM

Este informe contiene información importante acerca de su agua potable. Haga que alguien lo traduzca para usted, y hable con alguien que lo entienda. (This report contains essential information about your drinking water. Have someone translate it for you or speak with someone who understands it.)

WATER SYSTEM INFORMATION:

This report shows our water quality and what it means. If you have any questions about this report or concerns about the quality of your water, please contact the office at (814) 772-3251. We want you to be informed about your water supply. If you want to learn more, please attend any of our regularly scheduled meetings. They are being held on the third Monday of the month at 6:00 pm at the Ridgway Borough Municipal Building.

SOURCE(S) OF WATER:

Our source is surface water from H.B. Norton Dam located on Big Mill Creek in the Allegheny National Forest.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised people such as people with cancer undergoing chemotherapy, people who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

Monitoring Your Water:

We routinely monitor contaminants in your drinking water according to federal and state laws. A Source Water Protection Plan was done in 2012. The following tables show the results of our monitoring for the period of January 1 to December 31, 2024. The State allows us to monitor some contaminants less than once per year because the concentrations do not change frequently. Some of our data is from prior years in accordance with the Safe Drinking Water Act. The date has been noted on the sampling results table.

DEFINITIONS:

Action Level (AL) - The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Maximum Contaminant Level (MCL) - The highest level of contaminant that is allowed in drinking water. MCLs are set as close to MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal (MCLG) - The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG) - The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Minimum Residual Disinfectant Level (Min RDL) - The minimum level of residual disinfectant required at the entry point to the distribution system.

Treatment Technique (TT) - A required process intended to reduce the level of contaminants in drinking water.

ppm = parts per million, or milligrams per liter (mg/L)

ppb = parts per billion, or micrograms per liter (go/L)

| Chemical Contaminants |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | MCL in CCR Units | MCLG | Level Detected | Range of Detections | Units | Sample Date | Violation Y/N | Sources of Contamination |
| CHLORINE | MRDL= 4 | MRDL= 4 | 0.68 | 0.31-0.68 | ppm | DEC | N | Water Additive is used to control microbes. |
| FLUORIDE | 2 | 4 | 0.72 |  | ppm | 5/15/24 | N | Water additives are used to promote strong teeth. |
| TTHM | 80 | N/A | 34 | 15 - 67 | ppb | 12/4/24 | N | By-product of drinking water disinfection. |
| HAA5 | 60 | N/A | 16 | 1 - 29 | ppb | 12/4/24 | N | By-product of drinking water disinfection |
| BARIUM | 2 | 2 | 0 |  | ppm | 5/15/24 | N | Drilling waste and erosion of natural deposits. |
| NITRATE | 10 | 10 | 0.1 |  | ppm | 8/28/24 | N | Erosion of natural deposits. |

DETECTED SAMPLE RESULTS:

| Entry Point Disinfectant Residual |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Minimum Disinfectant Residual | Lowest Level Detected | Range of Detections | Units | Sample Date | Violation Y/N | Sources of Contamination |
| CHLORINE | 0.20 | 0.32 | 0.32 –1.05 | ppm | 05/29/24 | N | Water additives are used to control microbes. |

| Lead and Copper |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Action Level (AL) | MCLG | 90th Percentile Value | Units | # of Sites Above AL of Total Sites | Violation Y/N | Sources of Contamination |
| LEAD | 15 | 0 | 0.054 | ppb | One out of twenty | N | Corrosion of household plumbing. |
| COPPER | 1.3 | 1.3 | 0.006 | ppm | Zero out of twenty | N | Corrosion of household plumbing. |

| Microbial |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contaminants | MCL | MCLG | Highest # or % of Positive Samples | Violation Y/N | Sources of Contamination |
| TOTAL COLIFORM BACTERIA | For systems that collect <40 samples/month: - More than one positive monthly sample For systems that collect ≥ 40 samples/month: - Five percent of monthly samples are positive | 0 | 0 | N | Naturally present in the environment. |

| Turbidity |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant |  | MCL | MCLG |  | Level Detected |  | Sample Date |  |  | Violation Y/N | Sources of Contamination |  |
| TURBIDITY | TT=1 NTU for a single measurement |  |  | 0 |  | 0.21 |  | 8/21/24 | N |  |  | Soil runoff. |
|  | TT= at least 95% of monthly samples<0.3 NTU |  |  |  |  | 100% |  | 2024 | N |  |  |  |

| Total Organic Carbon (TOC) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contaminant | Range of % Removal Required | Range of percent removal achieved | Number of quarters out of compliance | Violation Y/N | Sources of Contamination |
| TOC | 35% | 34.9% to 71% | 1 | N | Naturally present in water |

EDUCATIONAL INFORMATION:

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity. Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals can naturally occur or result from urban stormwater running-off, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, are by-products of industrial processes and petroleum production, and can, also, come from gas stations, urban stormwater runoff, and septic systems.

- Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

Drinking water, including bottled water, may be expected to contain at least tiny amounts of contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (800-426-4791).

Ridgway Borough Water System prepared a service line inventory that includes the type of material contained in each service line in our distribution system. This inventory can be accessed by contacting our office on 814-776-1125.

INFORMATION ABOUT LEAD:

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Ridgway Borough Water System is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water evaluated. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at www.epa.gov/safewater/lead

.

MONITORING VIOLATION:

The Ridgway Borough Water System had no violations in 2024.